## Schedul1 ISPS
Schedule 1 ISPS: Design, Drawings and Documentation
Name of ISPS : Horamavu
|  |  | Local Component | Foreign Component |  | GST in INR | Total Price including GST INR
Item | Description | Quantity | Price( INR) | Japanese Yen (JPY) | US Dollars (USD)
|  |  | (1) | (2) | (3) | (4) | 5=(1)+(4)
1.1 Process Design and drawings as defined in Volume 2 of Bidding Document
1.1.1 | Flow charts and process design, Hydraulic Flow diagram, P & IDs, Pumping main LS up to battery limit | LS | 0 |  |  |  | 0
1.1.2 | Site Layout Plan, Borehole location plan for entire plant, Civil & Mechanical General Arrangement drawings, Geotechnical survey, Pumping main alignment survey and L-section drawings, Topographical Survey, Electrical resistivity test report | LS | 15000 |  |  | 1800 | 16800
1.1.3 | Single Line diagrams and Electrical drawings complete | LS | 10000 |  |  | 1200 | 11200
1.1.4 | Instrumentation, Control & Automation systems, Functional design specifications,System Architecture drawings complete | LS |  |  |  |  | 0
1.1.5 | Any other necessary document which Bidder feels necessary for project completion needs to be added including all essential Investigation, Model Study (if required), etc. required to complete the Works | LS |  |  |  |  | 0
| Sub Total of 1.1 |  | 25000 | 0 | 0 | 3000 | 28000
1.2 Civil, Architectural & Structural Designs and Drawings as defined in Volume 2 of Bidding Document
ISPS
1.2.1 | Inlet manhole & chamber, Coarse Screen channels, Effluent chamber, Overflow chamber, Wetwell with superstructure, Valve & Flowmeter chambers, Thrust blocks, nalla crossing, Pipe Bridges, Pipe culverts, Anchor blocks, Compound wall etc. | LS | 68400 |  |  | 8208 | 76608
| sub total of 1.2 |  | 68400 | 0 | 0 | 8208 | 76608
1.3 Mechanical, Designs, Drawings and Documentation as defined in Volume 2 of Bidding Document
1.3.1 | Inlet & Effluent chambers, Overflow chamber,Screen channels with necessary screening arrangements (Trash & Coarse screen), , Conveyors, Screening collection arrangement,Sluice gates, weir gates and Inlet & Overflow piping with fittings and Hardware with piping and all allied works complete(The proposed screens shall be installed next to the adjascent to the existing screening structure in the pumping station and connecting with modification to the existing wet well) | LS | 20000 |  |  | 2400 | 22400
1.3.2 | Dismantling of existing valves, piping, pumps, pipe supports and any other allied items in the wet well shall be replaced with brand new Submersible pumps, valves of suitable size and new piping arrangements and Hardware and all allied works complete (modification to the existing civil structure shall be restored according to the new proposed mechanical items ) | LS | 5000 |  |  | 600 | 5600
1.3.3 | Material handling system with suitable Cranes and hoist arrangements with Hardware and all allied works complete matching to the existing I girder in the pumping station. | LS |  |  |  |  | 0
1.3.4 | Miscellaneous works such as flushing arrangements, dewatering and ventilation system including Hardware and all allied works complete | LS |  |  |  |  | 0
1.3.5 | Fire Fighting system for the entire ISPS (inclusive of fire alarm,fire detection,fire extinguishing system), Tools Kit, Airconditioning system for SCADA control room & Administration and Laboratory Building and all allied works complete. | LS |  |  |  |  | 0
| sub total of 1.3 |  | 25000 | 0 | 0 | 3000 | 28000
1.4 Electrical Design, Drawings and Documentation as defined in Volume 2 of Bidding Document
1.4.1 | Electrical System Design, Drawings & Documentation as per General Requirements | LS | 10000 |  |  |  | 10000
| sub total of 1.4 |  | 10000 | 0 | 0 | 0 | 10000
1.5 Instrumentation, Control, and Automation Design, Drawings and Documentation as defined in Volume 2 of Bidding Document
1.5.1 | Instrumentation, Control, Automation inclusive of complete field instrumentation,PLC based control system-Functional design specifications (FDS) for Instrumentation ,FDS for Control & Automation systems,all other equipment required as per specifications,FAT Reports,SAT reports,Interoperability test reports, and all allied works complete as required under the specifications. | LS |  |  |  |  | 0
| sub total of 1.5 |  | 0 | 0 | 0 | 0 | 0
1.6 Tests on Completion of Design-Build as defined in Volume 2 of Bidding Document
1.6.1 | Sewage Pumping Station | LS | 5000 |  |  |  | 5000
| Sub total of 1.6 |  | 5000 | 0 | 0 | 0 | 5000
1.7 Tests prior to Contract Completion as defined in Volume 2 of Bidding Document
1.7.1 | Sewage Pumping Station | LS | 3500 |  |  |  | 3500
| Sub total of 1.7 |  | 3500 | 0 | 0 | 0 | 3500
1.8 As Built Drawings
1.8.1 | Civil, Structural & Building Works and piping | LS | 1000 |  |  |  | 1000
1.8.2 | Mechanical systems | LS | 1000 |  |  |  | 1000
1.8.3 | Electrical systems | LS | 1000 |  |  |  | 1000
1.8.4 | Instrumentation systems | LS |  |  |  |  | 0
1.8.5 | Control & Automation System | LS |  |  |  |  | 0
| Sub total of 1.8 |  | 3000 | 0 | 0 | 0 | 3000
1.9 Other Documentation
1.9.1 | Design Report of ISPS | LS | 1000 |  |  |  | 1000
1.9.2 | Surge analysis of Pumping Main if Required | LS |  |  |  |  | 0
1.9.3 | Concept of Civil Design Report | LS | 1000 |  |  |  | 1000
1.9.4 | Fault level calculations and Load flow studies | LS | 1000 |  |  |  | 1000
1.9.5 | Operation & Maintenance Manuals | LS | 1000 |  |  |  | 1000
1.9.6 | Training Programme and Manuals | LS | 1000 |  |  |  | 1000
1.9.7 | Energy Optimization Plan | LS | 1000 |  |  |  | 1000
| Sub total of 1.9 |  | 6000 | 0 | 0 | 0 | 5000
1.10 Bidder shall list here details of additional items required
1.10.1 |  | LS |  |  |  |  | 0
| Sub total of 1.10 |  | 0 | 0 | 0 | 0 | 0
Total of Schedule 1 ISPS (Sub 1.1+1.2+1.3+1.4+1.5+1.6+1.7+1.8+1.9+1.10) Total Carried to Schedule 7 ISPS, Grand Summary of Horamavu ISPS |  |  | 145900 | 0 | 0 | 14208 | 159108
(a): Local and Foreign Currencies shall be in accordance with the Instruction to Bidders (Clause no.15.1)
GST | Goods and Service Tax
Signature of Bidder
Name & Designation
Company

## Schedule 2 ISPS
Schedule 2 ISPS : Civil Works, Installations and other services for ISPS
Name of ISPS: Horamavu
Item | Description | Quantity | Price (INR) | GST in INR | Total Price in INR
|  | (1) | (2) | (3) | (4)=(2)+(3)
2.1 Civil and Building Works
Total Cost for Construction of the following:
ISPS
2.1.1 | Construction of Inlet chamber, Screen chamber, over flow chamber, Effluent chamber and other required structures | LS | 3466800 | 416016 | 3882816
2.1.2 | Rehabilitation of the existing ISPS, Pump house with allied works including Hydrotesting, cleaning of the wetwell and allied structres, painting complete etc.., including , interconnection works from the existing sewer line | LS | 1030908 | 123709 | 1154617
| OTHER UTILITIES |  |  |  | 0
2.1.3 | Repairs to Existing Civil Structures of the Pump House | LS | 539739 | 64769 | 604508
2.1.4 | The bidder shall list here details of any additional items (all area of the works) required for a complete installation
2.1.4.1 |  | LS |  |  | 0
2.1.4.2 |  | LS |  |  | 0
2.1.4.3 |  | LS |  |  | 0
2.1.5.4 |  | LS |  |  | 0
2.1.5.5 |  | LS |  |  | 0
| Sub Total of 2.1 |  | 5037447 | 604494 | 5641941
2.2 | Mechanical Works
Complete Installation,Testing & Commissioning of Plant (except Electrical, Control and Instrumentation systems) to provide the following systems as per the Bid specifications
2.2.1 | Inlet & Effluent chambers, Overflow chamber,Screen channels with necessary screening arrangements (Trash & Coarse screen), , Conveyors, Screening collection arrangement,Sluice gates, weir gates and Inlet & Overflow piping with fittings and Hardware with piping and all allied works complete(The proposed screens shall be installed next to the adjascent to the existing screening structure in the pumping station and connecting with modification to the existing wet well) | LS | 395943 | 47514 | 443457
2.2.2 | Dismantling of existing valves, piping, pumps, pipe supports and any other allied items in the wet well shall be replaced with brand new Submersible pumps, valves of suitable size and new piping arrangements and Hardware and all allied works complete (modification to the existing civil structure shall be restored according to the new proposed mechanical items ) | LS | 75359 | 9043 | 84402
2.2.3 | Material handling system with suitable Cranes and hoist arrangements with Hardware and all allied works complete matching to the existing I girder in the pumping station. | LS |  |  | 0
2.2.4 | Miscellaneous works such as flushing arrangements, dewatering and ventilation system including Hardware all allied works complete (Replacement of all the existing system with brand new items) | LS |  |  | 0
2.2.5 | Service water system including pumps with Hardware,piping,Valves and all allied works complete | LS |  |  | 0
2.2.6 | Fire Fighting system for the entire ISPS (inclusive of fire alarm,fire detection,fire extinguishing system ), Tools Kit, Airconditioning system for SCADA control room & Administration and Laboratory Building and all allied works complete. | LS |  |  | 0
2.2.7 | The bidder shall list here details of any additional items (all areas of the works) required for a complete installation
2.2.7.1 |  | LS |  |  | 0
2.2.7.2 |  | LS |  |  | 0
2.2.7.3 |  | LS |  |  | 0
2.2.7.4 |  | LS |  |  | 0
| Sub Total of 2.2 |  | 471302 | 56557 | 527859
2.3 | Electrical Systems |  |  |  |  | 0 | 0 | 0
2.3.1 | Installation, testing and commissioning of 11kV underground Cables, Termination Kits at following locations as per scope, specification and drawings. |  |  |  |  | 0 | 0 | 0
2.3.1.1 | 11kV Outdoor cable termination at Tariff Metering Unit / BESCOM if applicable | LS |  |  | 0 | 0 | 0 | 0
2.3.1.2 | 11kV Indoor cable terminations at incomer and outgoings of 11kV Metal Enclosed Switchboard of Intermediate Sewage Pumping Station if applicable | LS |  |  | 0 | 0 | 0 | 0
2.3.1.3 | 11kV Outdoor cable terminations at primary side of 11kV / 0.433 kV Transformers of Intermediate Sewage Pumping Station | LS |  |  | 0 | 0 | 0 | 0
2.3.1.4 | 11kV XLPE Cable from Metering Unit to incomer of 11kV Metal Enclosed Switchboard of Intermediate Sewage Pumping Station if applicable | LS |  |  | 0 | 0 | 0 | 0
2.3.1.5 | 11kV XLPE Cables from 11kV Metal Enclosed Switchboard to Primary cable end boxes of 11kV/0.433kV Transformers of Intermediate Sewage Pumping Station if applicable | LS |  |  | 0 | 0 | 0 | 0
2.3.1.6 | 11kV XLPE Cables from Metering Unit to Primary cable end boxes of 11kV/0.433kV Transformers of Intermediate Sewage Pumping Station if applicable | LS |  |  | 0
2.3.1.7 | 11kV Cable Straight through joints if applicable | LS |  |  | 0 | 0 | 0 | 0
2.3.2 | Installation, testing and commissioning of Electrical equipments for ISPS as per scope, specification and drawings. |  |  |  |  | 0 | 0 | 0
2.3.2.1 | 11kV Metal Enclosed Switchboard at 11kV Switchgear room if applicable | LS |  |  | 0 | 0 | 0 | 0
2.3.2.2 | Diesel Generator Set complete with AMF Control Panel | LS |  |  | 0 | 0 | 0 | 0
2.3.2.3 | 11kV / 0.433kV Transformers | LS |  |  | 0 | 0 | 0 | 0
2.3.2.4 | ISPS MCC if applicable | LS |  |  | 0 | 0 | 0 | 0
2.3.2.5 | 415V PCC in ISPS Substation Room. | LS | 12995 | 1560 | 14555 | 16115 | 0 | 0
2.3.2.6 | 415V Capacitor banks with Automatic Power Factor Correction Relay if applicable | LS |  |  | 0 | 0 | 0 | 0
2.3.2.7 | 110V D.C Battery Bank, Battery Charger with D.C Distribution Board if applicable | LS |  |  | 0 | 0 | 0 | 0
2.3.2.8 | Main Lighting DB | LS |  |  | 0 | 0 | 0 | 0
2.3.2.9 | Local Push Button Stations | LS | 1444 | 174 | 1618 | 1792 | 0 | 0
2.3.2.10 | Variable Frequency Drives MCC | LS |  |  | 0
2.3.2.11 | Miscellaneous works-Distribution Board | LS |  |  | 0
2.3.3 | Installation, testing and commissioning of Lighting System for ISPS with following major equipment, items as per scope, specification and drawings. |  |  |  |  | 0 | 0 | 0
2.3.3.1 | Lighting Fixtures | LS |  |  | 0 | 0 | 0 | 0
2.3.3.2 | Lighting panels | LS |  |  | 0 | 0 | 0 | 0
2.3.3.3 | Switchboards, Receptacles, Power Plug & Sockets, Switches, Ceiling fans with regulators etc | LS |  |  | 0 | 0 | 0 | 0
2.3.3.4 | Point wiring with conduits ,wires, supports etc for Lighting fixtures, Receptacles, Switches ,Ceiling fans etc | LS |  |  | 0 | 0 | 0 | 0
2.3.3.5 | Street Lighting and Area Lighting poles with Junction boxes and Over hang | LS |  |  | 0 | 0 | 0 | 0
2.3.4 | Installation, testing and commissioning of L.T Cabling System, HT/LT Cable Carrier System ISPS with following major components as per scope, specification and drawings. |  |  |  |  | 0 | 0 | 0
2.3.4.1 | L.T cables | LS | 10726 | 1288 | 12014 | 13302 | 0 | 0
2.3.4.2 | L.T Cable termination with glands and lugs | LS | 2311 | 278 | 2589 | 2867 | 0 | 0
2.3.4.3 | Cable trays with supports for both LT and HT Cables | LS | 2641 | 317 | 2958 | 3275 | 0 | 0
2.3.4.4 | Hume Pipe | LS |  | 100 | 100
2.3.5 | Supply of Earthing & Lightning Protection System for ISPS with following major components as per scope, specification and drawings.
2.3.5.1 | Earthing Conductor for outdoor main grid | LS |  | 780 | 780 | 1560 | 0 | 0
2.3.5.2 | Earthing Conductor for indoor main grid | LS |  | 1300 | 1300 | 2600 | 0 | 0
2.3.5.3 | Earthing Conductors for outdoor equipments and Junction Boxes | LS |  | 832 | 832 | 1664 | 0 | 0
2.3.5.4 | Lightning Arrestors and Down Conductors | LS |  | 520 | 520 | 1040 | 0 | 0
2.3.5.5 | Earthing Conductor for indoor equipments | LS |  | 728 | 728 | 1456 | 0 | 0
2.3.5.6 | Treated Earth pits | LS |  | 780 | 780 | 1560 | 0 | 0
2.3.6 | Installation, testing and commissioning of safety procedures with signage for Electrical Equipments for ISPS as per scope, specification and drawings. | LS |  | 260 | 260 | 520 | 0 | 0
Note | The Bidder shall dismantle existing electrical system including building wiring and repalce with new equipment as per the specification and project requirement.
2.3.7 | The bidder shall list here details of any additional items required for a complete installation |  |  |  |  | 0 | 0 | 0
2.3.7.1 |  | LS |  |  | 0 | 0 | 0 | 0
2.3.7.2 |  | LS |  |  | 0 | 0 | 0 | 0
2.3.7.3 |  | LS |  |  | 0
| Sub Total of 2.3 |  | 30117 | 8917 | 39034
2.4 | Instrumentation Control & Automation(IC&A) , Installation,Testing and Comissioning
2.4.1 | Complete Installation, testing and commissioning of Instrumentation system as per Equipment listed in Price Schedule 3A&3B and all other required Equipments as per Tender specifications | LS | 12377 | 1486 | 13863
2.4.2 | Complete Installation, testing and commissioning of control and Automation system as per Equipment listed in Price Schedule 3A&3B and all other required Equipments as per Tender specifications | LS | 3095 | 372 | 3467
2.4.3 | Testing Requirements of all ICA system | LS | 2063 | 248 | 2311
2.4.4 | Factory acceptance tests(FAT) for all instrumentation,control and automation system, as required under specifications | LS | 2063 | 248 | 2311
2.4.5 | Site acceptance tests(SAT)- for all instrumentation,control and automation system in combination and co-ordination with process,mechanical(individual vendor supplied systems) and electrical system's SAT test's ,inclusive of interoperability tests,integration with STP ,CP-24 and MIS-2 SCADA as required under specifications | LS | 1032 | 124 | 1156
|  | LS |  |  | 0
|  | LS |  |  | 0
|  | LS |  |  | 0
2.4.6 | The Bidder shall list here details of any additional items (all areas of the Works) required for complete installation
2.4.6.1 |  | LS |  |  | 0
2.4.6.2 |  | LS |  |  | 0
| Sub Total of 2.4 |  | 20630 | 2478 | 23108
2.5 | General Mechanical Systems
2.5.1 | Building Services including domestic water systems The bidder shall list here details of any additional items required for a complete installation | LS |  |  | 0
2.5.2 |  | LS |  |  | 0
2.5.3 |  | LS |  |  | 0
| Sub Total of 2.5 |  | 0 | 0 | 0
2.6 | Integrated Testing and Commissioning of the Entire System | LS |  |  | 0
| Sub Total of 2.6 |  | 0 | 0 | 0
Total of Schedule 2 ISPS(Sub Total 2.1+Sub Total 2.2+Sub Total 2.3+Sub Total 2.4+Sub Total 2.5+Sub Total 2.6) Total Carried to Schedule 7 ISPS, Grand Summary of Horamavu ISPS |  |  | 5559496 | 672446 | 6231942
Signature of Bidder
Name & Designation
Company

## Schedule 3A ISPS
Schedule 3A ISPS: Plant and Equipment, Supplied from Outside Employer’s Country for ISPS in Contract Package CP-25
Name of ISPS : Horamavu
|  |  |  | Japanese Yen (JPY) |  | US Dollar (USD) | [5 empty] | Total Price
Item | Description | Country of Origin | Quantity | Freight on Board(FOB) | Cost, Insurance, Freight (CIF) | Freight on Board(FOB) | Cost, Insurance, Freight (CIF) | Duties, Taxes and Local Transport Payable in India in Local Currency (INR) |  |  | Foreign Currency |  | Local Component
[8 empty] | Duties | GST | Local Transport | Japanese Yes (JPY) | US Dollar (USD) | Local Currency (INR)
|  | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | =(5)+(6) | =(7)+(8) | =(9)+(10)+(11)
Supply and Delivery of Plant and Equipment to Site for the following works:
Mechanical, Electrical Works and Instrumentation, Control & Automation Works
3.1 | Mechanical Works
| Supply of Plant (except Electrical, Instrumentation ,Control & Automation systems) to provide the following systems as per the Bid specifications | [9 empty] | 0 | 0 | 0
3.1.1 | Inlet & Effluent chambers, Overflow chamber,Screen channels with necessary screening arrangements (Trash & Coarse screen), , Conveyors, Screening collection arrangement,Sluice gates, weir gates and Inlet & Overflow piping with fittings and Hardware with piping and all allied works complete(The proposed screens shall be installed next to the adjascent to the existing screening structure in the pumping station and connecting with modification to the existing wet well) | [9 empty] | 0 | 0 | 0 | bar: (4)
3.1.2 | Dismantling of existing valves, piping, pumps, pipe supports and any other allied items in the wet well shall be replaced with brand new Submersible pumps, valves of suitable size and new piping arrangements and Hardware and all allied works complete (modification to the existing civil structure shall be restored according to the new proposed mechanical items ) | [9 empty] | 0 | 0 | 0 | bar: (4)
3.1.3 | Material handling system with suitable Cranes and hoist arrangements with Hardware and all allied works complete matching to the existing I girder in the pumping station. | [9 empty] | 0 | 0 | 0 | bar: (4)
3.1.4 | Miscellaneous works such as flushing arrangements, dewatering and ventilation system including Hardware all allied works complete | [9 empty] | 0 | 0 | 0 | bar: (4)
3.1.5 | Service water system including pumps with Hardware,piping,Valves and all allied works complete | [9 empty] | 0 | 0 | 0 | bar: (4)
3.1.6 | Fire Fighting system for the whole plant, Tools Kit, Airconditioning system arrangement for PLC / SCADA & and all allied works complete | [9 empty] | 0 | 0 | 0 | bar: (4)
3.1.7 | The bidder shall list here details of any additional items (all areas of the works) required for a complete installation
3.1.7.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
3.1.7.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
3.1.7.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
3.1.7.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
| Sub Total of 3.1 | [9 empty] | 0 | 0 | 0
3.2 | Electrical Systems
3.2.1 | Supply of 11kV underground Cables , Termination Kits at following locations as per scope, specification and drawings.
3.2.1.1 | 11kV Outdoor cable termination at Tariff Metering Unit / BESCOM if applicable | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.1.2 | 11kV Indoor cable terminations at incomer and outgoings of 11kV Metal Enclosed Switchboard of Intermediate Sewage Pumping Station if applicable | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.1.3 | 11kV Outdoor cable terminations at primary side of 11kV / 0.433 kV Transformers of Intermediate Sewage Pumping Station | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.1.4 | 11kV XLPE Cable from Metering Unit to incomer of 11kV Metal Enclosed Switchboard of Intermediate Sewage Pumping Station if applicable | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.1.5 | 11kV XLPE Cables from 11kV Metal Enclosed Switchboard to Primary cable end boxes of 11kV/0.433kV Transformers of Intermediate Sewage Pumping Station if applicable | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.1.6 | 11kV XLPE Cables from Metering Unit to Primary cable end boxes of 11kV/0.433kV Transformers of Intermediate Sewage Pumping Station if applicable | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.1.7 | 11kV Cable Straight through joints if applicable | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.2 | Supply of Electrical equipments for ISPS as per scope, specification and drawings.
3.2.2.1 | 11kV Metal Enclosed Switchboard at 11kV Switchgear room if applicable | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.2.2 | Diesel Generator Set complete with AMF Control Panel | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.2.3 | 11kV / 0.433kV Transformers | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.2.4 | ISPS MCC- if applicable | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.2.5 | 415V Switchboard in ISPS Substation Room. | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.2.6 | 415V Capacitor banks with Automatic Power Factor Correction Relay if applicable | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.2.7 | 110V D.C Battery, Battery Charger with D.C Distribution Board if applicable | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.2.8 | Main Lighting DB | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.2.9 | Local Push Button Stations | [9 empty] | 0 | 0 | 0 | bar: (4)
2.3.2.10 | Variable Frequency Drives MCC | [9 empty] | 0 | 0 | 0 | bar: (4)
2.3.2.11 | Miscellaneous works-Distribution Board | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.3 | Supply of Lighting System for ISPS as per scope, specification and drawings. with following major equipment, items as per scope, specification and drawings.
3.2.3.1 | Lighting Fixtures | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.3.2 | Lighting panels | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.3.3 | Switchboards , Receptacles, Power Plug & Sockets, Switches, Ceiling fans with regulators etc | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.3.4 | Point wiring with conduits ,wires, supports etc for Lighting fixtures, Receptacles, Switches ,Ceiling fans etc | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.3.5 | Street Lighting and Area Lighting poles with Junction boxes and Over hang | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.4 | Supply of L.T Cabling System, HT/LT Cable Carrier System for ISPS as per scope, specification and drawings. with following major components as per scope, specification and drawings.
3.2.4.1 | L.T cables | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.4.2 | L.T Cable termination with glands and lugs | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.4.3 | Cable trays with supports for both LT and HT Cables | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.4.4 | Hume Pipe | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.5 | Supply of Earthing & Lightning Protection System for ISPS as per scope, specification and drawings. with following major components as per scope, specification and drawings.
3.2.5.1 | Earthing Conductor for outdoor main grid | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.5.2 | Earthing Conductor for indoor main grid | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.5.3 | Earthing Conductors for outdoor equipments and Junction Boxes | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.5.4 | Lightning Arrestors and Down Conductors | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.5.5 | Earthing Conductor for indoor equipments | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.5.6 | Treated Earth pits | [9 empty] | 0 | 0 | 0 | bar: (4)
Note | The Bidder shall dismantle existing electrical system including building wiring and repalce with new equipment as per the specification and project requirement.
3.2.6 | Installation, testing and commissioning of safety procedures with signage for Electrical Equipments for ISPS as per scope, specification and drawings. | [9 empty] | 0 | 0 | 0 | bar: (4)
3.2.7 | The bidder shall list here details of any additional items required for a complete installation
2.3.7.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
2.3.7.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
| Sub Total of 3.2 | [9 empty] | 0 | 0 | 0
3.3 | Instrumentation, Control & Automation Systems and SCADA systems
3.3.1 | Installation, testing and commissioning of the following Instrumentation Systems as per Technical Specifications.
3.3.1.1 | Supplying of Ultrasonic open channel flow measurement with Transmitter's along with required accessaries and fittings for open channel flow measurement for the complete plant. The flow meter shall be Interfaced with PLC based scada control system .Refer clause 13.30 Minimum I/O Requirements for Auto mode Control operation of the Plant | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.2 | Supplying of Electromagnetic Flowmeter's with Indicating Transmitter's with totalizer (full bore type) with flange Ends, rates shall be inclusive of mating flanges with necessary fasteners and gaskets,for the complete plant.. The flow meter shall be Interfaced with PLC based scada control system .Refer clause 13.30 Minimum I/O Requirements for Auto mode Control operation of the Plant | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.3 | Supplying of Ultrasonic Level Transmitters with indicators& alarms for the complete plant. and Interfacing with PLC based scada control system via instrument field junction box,including all required Mounting accessories,cables(cable shall be laid in cable tray),with separate enclosure for the instrument transmitter as per specifications. | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.4 | Supplying of Differential Level Ultrasonic Sensor & Transmitter with indicators & alarms for the complete plant. and Interfacing with PLC based scada control system including all required Mounting accessories. | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.5 | Supplying of Conductivity type Level Switch , -with 4 point contact) with necessary instrumentation cabling,glands with suitable stub and flange and bolting arrangement for hook-up, for the complete plant. and also Interfacing with PLC based scada control system via instrument field junction box,including all required Mounting accessories,cables(cable shall be laid in cable tray),with separate enclosure for the instrument transmitter as per specifications. | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.6 | Supplying of Pressure Transmitter's with necessary instrumentation cabling,manifold,glands and conduit with suitable stub and flange and bolting arrangement for hook-up, for the complete plant. and also Interfacing with PLC based scada control system .Refer clause 13.30 Minimum I/O Requirements for Auto mode Control operation of the Plant | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.7 | Supplying of Pressure Switches on the pump discharge with necessary instrumentation cabling, glands and conduit with suitable stub and flange and bolting arrangement for hook-up, for the complete plant.and also Interfacing with PLC based scada control system .Refer clause 13.30 Minimum I/O Requirements for Auto mode Control operation of the Plant | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.8 | Supplying of glycerine filled stainless steel pressure gauges of 150 mm Dia. Dail suitable on top of Air vessel with nipple, snubber for vibration resistance and necessary length of SS tubing suitable for mounting , including isolating valve for maintenance etc.,complete with all lead and lifts etc, for the complete plant. | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.9 | Supplying of Field instruments IP-65 enclosures for complete field instrumentation | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.10 | Supplying of Field Junction boxes | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.11 | Supplying of Surge protection Devices for the instruments | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.12 | Supply of on- line UPS system for complete ICA equipment inclusive of wireless communication equipment,CCTV systems,field instrumentation ,control and Automation system with 60 mins backup on full load. | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.13 | Supplying of 24V DC power supply system with SMF batteries & battery charger with DC distribution board with all accessories complete | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.14 | Instrumentation Earthing for the complete plant | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.1.15 | The Bidder shall list here details of any additional items required for a complete installation as per bid specifications
[11 empty] | 0 | 0 | 0 | bar: (4)
[11 empty] | 0 | 0 | 0 | bar: (4)
3.3.2 | Installation, testing and commissioning of the Instrumentation Cables/cable trays as per Technical Specification
3.3.2.1 | Suppying of Instrumentation & Control Cables and Power Cables, Glands & Lugs, cable conduits | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.2.2 | Supplying and installation of hot dip GI perforated cable tray's with cover along with required angle supports, with coupler plates, Anchor bolts and nuts etc complete and the tray should be fitted o the wall / ceiling etc. complete for all instrumentation cables | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.3 | Installation, testing and commissioning of the following Automation system (PLC HMI based control system) as per Technical Specifications.
3.3.3.1 | Supplying of PLC panel with Standalone programmable logical controller (PLC) inclusive of redundant power supply, simplex input/output module,16 " color touch screen HMI ,Communication modules, managed ethernet switches, alarm hooter ,all other required accessories as per Bid specifications | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.3.2 | Supplying of PLC and HMI programming software | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.3.3 | Supplying of Redundant GPRS communication modules to transmit the ISPS data (bulk data transfer) to the sewage treatment plant for complete control and monitoring as required under bid specifications.ISPS shall transmit data to centralzied SCADA center if the STP link is not available with the broadband internet connectivity/leasedline to transfer the ISPS data to STP | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.3.4 | Supplying of CCTV IR water proof camer as suitable for upto 100ft.with IR Dome camera, 360 degrees view,control key board, DVR, Hard Disk, cables, UPT transreceivers, complete with all required accessories,software and hardware required,(Close Circuit Television System to be installed to cover all areas of the facilities,inclusive of high speed internet bandwidth as required to monitor the CCTV feed remotely and via web based broswers.CCTV feeds shall be monitored from STP SCADA control room) | [9 empty] | 0 | 0 | 0 | bar: (4)
3.3.3.4.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
3.3.3.4.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
3.3.3.4.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
3.3.3.7 | The Bidder shall list here details of any additional items required for a complete installation
3.3.3.7.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
3.3.3.7.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
| Sub Total of 3.3 | [9 empty] | 0 | 0 | 0
3.4 | General Mechanical Systems
3.4.1 | Building Services including domestic water systems The bidder shall list here details of any additional items required for a complete installation | [9 empty] | 0 | 0 | 0 | bar: (4)
3.4.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
3.4.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
| Sub Total 3.4 | [9 empty] | 0 | 0 | 0
Total of Schedule 3A ISPS (Sub Total 3.1+Sub Total 3.2+Sub Total 3.3+Sub Total 3.4) Total Carried to Schedule 7 ISPS, Grand Summary of Horamavu ISPS | [10 empty] | 0 | 0 | 0
2. (a): Local and Foreign Currencies shall be in accordance with the Instruction to Bidders (Clause no.15.1)
GST | Goods and Service Tax
Signature of Bidder
Name & Designation
Company

## Schedule 3B ISPS
Schedule 3B ISPS : Plant and Equipment, Supplied from Within Employer’s Country
Name of ISPS : Horamavu
Item | Description | Quantity | Ex. Works ( INR) | GST (INR) | Local Transport (INR) | Total Price (INR)
(1) | (2) | (3) | (4) | (5 | (6) | (7) =(4) +(5) + (6)
Supply and Delivery of Plant and Equipment to Site for the following works:
Mechanical, Electrical Works and Instrumentation, Control & Automation Works
3.1 | Mechanical Works
Supply of Plant (except Electrical, Instrumentation ,Control & Automation systems) to provide the following systems as per the Bid specifications
3.1.1 | Inlet & Effluent chambers, Overflow chamber,Screen channels with necessary screening arrangements (Trash & Coarse screen), , Conveyors, Screening collection arrangement,Sluice gates, weir gates and Inlet & Overflow piping with fittings and Hardware with piping and all allied works complete(The proposed screens shall be installed next to the adjascent to the existing screening structure in the pumping station and connecting with modification to the existing wet well) | LS | 6193750 | 743250 | 278719 | 7215719
3.1.2 | Dismantling of existing valves, piping, pumps, pipe supports and any other allied items in the wet well shall be replaced with brand new Submersible pumps, valves of suitable size and new piping arrangements and Hardware and all allied works complete (modification to the existing civil structure shall be restored according to the new proposed mechanical items ) | LS | 1168125 | 140175 | 52566 | 1360866
(1): 3.1.3; (2): Material handling system with suitable Cranes and hoist arrangements with Hardware and all allied works complete matching to the existing I girder in the pumping station.; (3): LS | 0
(1): 3.1.4; (2): Miscellaneous works such as flushing arrangements, dewatering and ventilation system inculding Hardware all allied works complete; (3): LS | 0
(1): 3.1.5; (2): Service water system including pumps with Hardware,piping,Valves and all allied works complete; (3): LS | 0
(1): 3.1.6; (2): Fire Fighting system for the whole plant, Tools Kit, Airconditioning system arrangement for PLC / SCADA & Administrative Building and all allied works complete; (3): LS | 0
3.1.7 | The bidder shall list here details of any additional items (all areas of the works) required for a complete installation
(1): 3.1.7.1; (3): LS | 0
(1): 3.1.7.2; (3): LS | 0
(1): 3.1.7.3; (3): LS | 0
(1): 3.1.7.4; (3): LS | 0
(1): 3.1.7.5; (3): LS | 0
(1): 3.1.7.6; (3): LS | 0
| Sub Total of 3.1 |  | 7361875 | 883425 | 331285 | 8576585
3.2 | Electrical Systems
3.2.1 | Supply of 11kV underground Cables , Termination Kits at following locations as per scope, specification and drawings.
(1): 3.2.1.1; (2): 11kV Outdoor cable termination at Tariff Metering Unit / BESCOM if applicable; (3): LS | 0
(1): 3.2.1.2; (2): 11kV Indoor cable terminations at incomer and outgoings of 11kV Metal Enclosed Switchboard of Intermediate Sewage Pumping Station if applicable; (3): LS | 0
(1): 3.2.1.3; (2): 11kV Outdoor cable terminations at primary side of 11kV / 0.433 kV Transformers of Intermediate Sewage Pumping Station; (3): LS | 0
(1): 3.2.1.4; (2): 11kV XLPE Cable from Metering Unit to incomer of 11kV Metal Enclosed Switchboard of Intermediate Sewage Pumping Station if applicable; (3): LS | 0
(1): 3.2.1.5; (2): 11kV XLPE Cables from 11kV Metal Enclosed Switchboard to Primary cable end boxes of 11kV/0.433kV Transformers of Intermediate Sewage Pumping Station; (3): LS | 0
(1): 3.2.1.6; (2): 11kV XLPE Cables from Metering Unit to Primary cable end boxes of 11kV/0.433kV Transformers of Intermediate Sewage Pumping Station if applicable; (3): LS | 0
(1): 3.2.1.7; (2): 11kV Cable Straight through joints if applicable; (3): LS | 0
3.2.2 | Supply of Electrical equipments for ISPS as per scope, specification and drawings.
(1): 3.2.2.1; (2): 11kV Metal Enclosed Switchboard at 11kV Switchgear room if applicable; (3): LS | 0
(1): 3.2.2.2; (2): Diesel Generator Set complete with AMF Control Panel; (3): LS | 0
(1): 3.2.2.3; (2): 11kV / 0.433kV Transformers; (3): LS | 0
(1): 3.2.2.4; (2): ISPS MCC- if applicable; (3): LS | 0
3.2.2.5 | 415V Switchboard in ISPS Substation Room. | LS | 176129 | 21136 | 4004 | 201269
(1): 3.2.2.6; (2): 415V Capacitor banks with Automatic Power Factor Correction Relay if applicable; (3): LS | 0
(1): 3.2.2.7; (2): 110V D.C Battery, Battery Charger with D.C Distribution Board if applicable; (3): LS | 0
(1): 3.2.2.8; (2): Main Lighting DB; (3): LS | 0
3.2.2.9 | Local Push Button Stations | LS | 19571 | 2350 | 446 | 22367
(1): 2.3.2.10; (2): Variable Frequency Drives MCC; (3): LS | 0
(1): 2.3.2.11; (2): Miscellaneous works-Distribution Board; (3): LS | 0
3.2.3 | Supply of Lighting System including building wiring for ISPS with following major equipment, items as per scope, specification and drawings.
(1): 3.2.3.1; (2): Lighting Fixtures; (3): LS | 0
(1): 3.2.3.2; (2): Lighting panels; (3): LS | 0
(1): 3.2.3.3; (2): Switchboards , Receptacles, Power Plug & Sockets, Switches, Ceiling fans with regulators etc; (3): LS | 0
(1): 3.2.3.4; (2): Point wiring with conduits ,wires, supports etc for Lighting fixtures, Receptacles, Switches ,Ceiling fans etc; (3): LS | 0
(1): 3.2.3.5; (2): Street Lighting and Area Lighting poles with Junction boxes and Over hang; (3): LS | 0
3.2.4 | Supply of L.T Cabling System , HT/LT Cable Carrier System for ISPS with following major components as per scope, specification and drawings.
3.2.4.1 | L.T cables | LS | 113071 | 13569 | 2571 | 129211
3.2.4.2 | L.T Cable termination with glands and lugs | LS | 24354 | 2924 | 555 | 27833
3.2.4.3 | Cable trays with supports for both LT and HT Cables | LS | 27834 | 3341 | 634 | 31809
(1): 3.2.4.4; (2): Hume Pipe; (3): LS | 0
3.2.5 | Supply of Earthing & Lightning Protection System for ISPS with following major components as per scope, specification and drawings.
(1): 3.2.5.1; (2): Earthing Conductor for outdoor main grid; (3): LS | 0
(1): 3.2.5.2; (2): Earthing Conductor for indoor main grid; (3): LS | 0
(1): 3.2.5.3; (2): Earthing Conductors for outdoor equipments and Junction Boxes; (3): LS | 0
(1): 3.2.5.4; (2): Lightning Arrestors and Down Conductors; (3): LS | 0
(1): 3.2.5.5; (2): Earthing Conductor for indoor equipments; (3): LS | 0
(1): 3.2.5.6; (2): Treated Earth pits; (3): LS | 0
(1): 3.2.6; (2): Installation, testing and commissioning of safety procedures with signage for Electrical Equipments for ISPS as per scope, specification and drawings.; (3): LS | 0
Note | The Bidder shall dismantle existing electrical system including building wiring and repalce with new equipment as per the specification and project requirement.
3.2.7 | The bidder shall list here details of any additional items required for a complete installation
(1): 3.2.7.1; (3): LS | 0
(1): 3.2.7.2; (3): LS | 0
| Sub Total of 3.2 |  | 360959 | 43320 | 8210 | 412489
3.3 | Instrumentation, Control & Automation Systems
3.3.1 | Installation, testing and commissioning of the following Instrumentation Systems as per Technical Specifications.
(1): 3.3.1.1; (2): Supplying of Ultrasonic open channel flow measurement with Transmitter's along with required accessaries and fittings for open channel flow measurement for the complete plant. The flow meter shall be Interfaced with PLC based scada control system .Refer clause 13.30 Minimum I/O Requirements for Auto mode Control operation of the Plant; (3): LS | 0
(1): 3.3.1.2; (2): Supplying of Electromagnetic Flowmeter's with Indicating Transmitter's with totalizer (full bore type) with flange Ends, rates shall be inclusive of mating flanges with necessary fasteners and gaskets,for the complete plant.. The flow meter shall be Interfaced with PLC based scada control system .Refer clause 13.30 Minimum I/O Requirements for Auto mode Control operation of the Plant; (3): LS | 0
3.3.1.3 | Supplying of Ultrasonic Level Transmitters with indicators& alarms for the complete plant. and Interfacing with PLC based scada control system via instrument field junction box,including all required Mounting accessories,cables(cable shall be laid in cable tray),with separate enclosure for the instrument transmitter as per specifications. | LS | 148256 |  |  | 148256 | Item No:3.2.1.11
(1): 3.3.1.4; (2): Supplying of Differential Level Ultrasonic Sensor & Transmitter with indicators & alarms for the complete plant. and Interfacing with PLC based scada control system including all required Mounting accessories.; (3): LS | 0
(1): 3.3.1.5; (2): Supplying of Conductivity type Level Switch , -with 4 point contact) with necessary instrumentation cabling,glands with suitable stub and flange and bolting arrangement for hook-up, for the complete plant. and also Interfacing with PLC based scada control system via instrument field junction box,including all required Mounting accessories,cables(cable shall be laid in cable tray),with separate enclosure for the instrument transmitter as per specifications.; (3): LS | 0
(1): 3.3.1.6; (2): Supplying of Pressure Transmitter's with necessary instrumentation cabling,manifold,glands and conduit with suitable stub and flange and bolting arrangement for hook-up, for the complete plant. and also Interfacing with PLC based scada control system .Refer clause 13.30 Minimum I/O Requirements for Auto mode Control operation of the Plant; (3): LS | 0
(1): 3.3.1.7; (2): Supplying of Pressure Switches on the pump discharge with necessary instrumentation cabling, glands and conduit with suitable stub and flange and bolting arrangement for hook-up, for the complete plant.and also Interfacing with PLC based scada control system .Refer clause 13.30 Minimum I/O Requirements for Auto mode Control operation of the Plant; (3): LS | 0
(1): 3.3.1.8; (2): Supplying of glycerine filled stainless steel pressure gauges of 150 mm Dia. Dail suitable on top of Air vessel with nipple, snubber for vibration resistance and necessary length of SS tubing suitable for mounting , including isolating valve for maintenance etc.,complete with all lead and lifts etc, for the complete plant.; (3): LS | 0
(1): 3.3.1.9; (2): Supplying of Field instruments IP-65 enclosures for complete field instrumentation; (3): LS | 0
(1): 3.3.1.10; (2): Supplying of Field Junction boxes; (3): LS | 0
3.3.1.11 | Supplying of Surge protection Devices for the instruments | LS
(1): 3.3.1.12; (2): Supply of on- line UPS system for complete ICA equipment inclusive of wireless communication equipment,CCTV systems,field instrumentation ,control and Automation system with 60 mins backup on full load.; (3): LS | 0
(1): 3.3.1.13; (2): Supplying of 24V DC power supply system with SMF batteries & battery charger with DC distribution board with all accessories complete; (3): LS | 0
3.3.1.14 | Instrumentation Earthing for the complete plant | LS
(1): 3.3.1.15; (2): The Bidder shall list here details of any additional items required for a complete installation as per bid specifications | 0
(1): 3.3.1.15.1; (3): LS | 0
(1): 3.3.1.15.2; (3): LS | 0
3.3.2 | Installation, testing and commissioning of the Instrumentation Cables/cable trays as per Technical Specification
3.3.2.1 | Suppying of Instrumentation & Control Cables and Power Cables, Glands & Lugs, cable conduits | LS | 286629 | 34397 | 5733 | 326759 | 3.2.4
3.3.2.2 | Supplying and installation of hot dip GI perforated cable tray's with cover along with required angle supports, with coupler plates, Anchor bolts and nuts etc complete and the tray should be fitted o the wall / ceiling etc. complete for all instrumentation cables | LS | 207559 | 24908 | 4152 | 236619
3.3.3 | Installation, testing and commissioning of the following Automation system (PLC HMI based control system) as per Technical Specifications.
(1): 3.3.3.1; (2): Supplying of PLC panel with Standalone programmable logical controller (PLC) inclusive of redundant power supply, simplex input/output module,16 " color touch screen HMI ,Communication modules, managed ethernet switches, alarm hooter ,all other required accessories as per Bid specifications; (3): LS | 0
(1): 3.3.3.2; (2): Supplying of PLC and HMI programming software; (3): LS | 0
(1): 3.3.3.3; (2): Supplying of Redundant GPRS communication modules to transmit the ISPS data (bulk data transfer) to the sewage treatment plant for complete control and monitoring as required under bid specifications.ISPS shall transmit data to centralzied SCADA center if the STP link is not available with the broadband internet connectivity/leasedline to transfer the ISPS data to STP; (3): LS | 0
(1): 3.3.3.4; (2): Supplying of CCTV IR water proof camer as suitable for upto 100ft.with IR Dome camera, 360 degrees view,control key board, DVR, Hard Disk, cables, UPT transreceivers, complete with all required accessories,software and hardware required,(Close Circuit Television System to be installed to cover all areas of the facilities,inclusive of high speed internet bandwidth as required to monitor the CCTV feed remotely and via web based broswers.CCTV feeds shall be monitored from STP SCADA control room); (3): LS | 0
(1): 3.3.3.4.1; (3): LS | 0
(1): 3.3.3.4.2; (3): LS | 0
(1): 3.3.3.4.3; (3): LS | 0
(1): 3.3.3.4.4; (3): LS | 0
(1): 3.3.3.4.5; (3): LS | 0
3.3.3.7 | The Bidder shall list here details of any additional items required for a complete installation
(1): 3.3.3.7.1; (3): LS | 0
(1): 3.3.3.7.2; (3): LS | 0
| Sub Total of 3.3 |  | 642444 | 59305 | 9885 | 711634
3.4 | General Mechanical Systems
(1): 3.4.1; (2): Building Services including domestic water systems The bidder shall list here details of any additional items required for a complete installation; (3): LS | 0
(1): 3.4.2; (3): LS | 0
(1): 3.4.3; (3): LS | 0
| Sub Total of 3.4 |  | 0 | 0 | 0 | 0
Total of Schedule 3B ISPS(Sub Total 3.1+Sub Total 3.2+Sub Total 3.3+Sub Total 3.4) Total Carried to Schedule 7 ISPS, Grand Summary of Horamavu ISPS |  |  | 8365278 | 986050 | 349380 | 9700708
GST | Goods and Service Tax
Signature of Bidder
Name & Designation
Company

## Schedule 4 ISPS
Schedule 4 ISPS: Requirement of Office of the Engineer for ISPS
Name of ISPS : Horamavu
Item | Description | Unit | Quantity | Unit Rate (INR) | GST (INR) | Total Price (INR)
(1) | (2) | ( 3) | -4 | -5 | -6 | (7)=(4) X(5) + (6)
4.1 | The following equipment, furniture and furnishings for each ISPS under the contract shall include:
Office furniture shall be of Godrej or Featherlite
4.1.1 | 4' x 2 ½' table with both side drawers (3 on each side) | LS | 1 | 20000 | 2400 | 22400
4.1.2 | Executive Chairs | LS | 1 | 20000 | 2400 | 22400
4.1.3 | Oscillating Desktop or wall mounted fan 400mm dia. | LS | 1 | 7500 | 900 | 8400
4.1.4 | Water supply / Plumbing / Electrical complete | LS | 1 | 100000 | 12000 | 112000
4.1.5 | Computer Table and Chair | LS | 1 | 8000 | 960 | 8960
4.1.6 | Fire Extinguisher – CO2 type (3 Kg) | LS | 4 | 12000 | 1440 | 49440
4.1.7 | Supply, Installation, testing and commissioning of Lighting System covering Lighting Distribution board, Switchboards, Switch sockets, Power Plug & Sockets, Luminaries, Cables, Conduits, wires, earthing etc. for the Site Office complete as per Specification | LS | 1 | 35000 | 4200 | 39200
(1): Total Carried to Schedule 7 ISPS, Grand Summary of Horamavu ISPS; -5: 202500; -6: 24300 | 262800
GST | Goods and Service Tax
Signature of Bidder
Name & Designation
Company

## Schedule 6 ISPS
Schedule 6 ISPS: Operation and Maintenance of ISPS
Name of ISPS : Horamavu
Item | Description | Unit | Quantity | Unit rate (INR) | GST in INR | Total Price (INR)
| (2) | (3 ) | (4 ) | ( 5) | ( 6 ) | (7 )=(4 ) X ( 5 )+ (6)
6.1 | First Year of O&M
6.1.1 | Manpower + | Per year | 1 | 251252 | 30151 | 281403
6.1.2 | (i) Trouble shooting and routine preventive maintenece for Pump Mechanical seals, Pump Bearings etc complete. (ii) Trouble shooting and routine preventive maintenence schedule for Electrical equipments, fuses, cables, starters etc complete (iii) Network Operating charges for Wireless communication System (GPRS gateway) (iv) Including all other software updates, consumables, stationeries (v) Instrumentation(Analog) & Control Cables and Power Cables, OFC, etc. (vi) AMC for complete ICA Equipments, painting for field Instrument enclosures (vii) Refer clause no 16.11 in part-16 of volume 2 in Tender Documents of the O&M for complete IC&A. | LS/Per year | 1 | 103747 | 12450 | 116197
6.1.3 | Transportation and Disposal of Screened Materials | LS/Per year | 1 | 127381 | 15286 | 142667
6.1.4 | Insurance | LS/Per year | 1 | 21935 | 2633 | 24568
6.1.5 | The Bidder shall list here details of any additional items required for O & M
6.1.5.1 |  | LS/Per year | 1 |  |  | 0
6.1.5.2 |  | LS/Per year | 1 |  |  | 0
6.1.5.3 |  | LS/Per year | 1 |  |  | 0
6.2 | Sub Total of 6.1 for First Year O & M |  |  | 504315 | 60520 | 564835
6.3 | Total for Seven Years O & M (Based on First Year O & M)= First Year O & M x 7 Years | Year | 7 | 504315 | 423640 | 3953845
| Total of Schedule 6 ISPS(Sub Total 6.2+Sub Total 6.3) Total Carried to Schedule 7 ISPS, Grand Summary of Horamavu ISPS |  |  |  |  | 3953845
Note:
+ The bidder shall quote the cost for manpower which includes man month rate including accommodation, transportation allowance, etc. complete
Payment for Electrical usage will be made directly to KPTCL/BESCOM by Employer.
Price quoted for the first year of O&M shall be considered for subsequent six years O & M with price adjustment clause stated in volume 1 of the Bid.
Signature of Bidder
Name & Designation
Company
Note on C2: Kevin: Only for 1 year and is not O&M so why paid separately in DLP. Possibly for disposal of screenings but notin separate schedule

## Schedule 7 ISPS
Schedule 7 ISPS: Grand Summary of Horamavu ISPS
Name of ISPS : Horamavu
Total Price
|  | Foreign Component |  | Local Component
Schedule No. | Description | Japenese Yen (JPY) | US Dollar (USD) | Local Currency (INR) | GST | PRICE
1 ISPS | Design, Drawings and Documentations | 0 | 0 | 159108 | 14208 | 144900
2 ISPS | Civil Works, Installations and other services |  |  | 6231942 | 672446 | 5559496
3A ISPS | Plant and Equipment, Supplied from Outside Employer’s Country | 0 | 0 | 0 |  | 0
3B ISPS | Plant and Equipment, Supplied from Within Employer’s Country |  |  | 9700708 | 986050 | 8714658
4 | Requirement of Office of the Engineer (Furniture's, Equipment and Furnishing) for ISPS |  |  | 262800 | 24300 | 238500
5 | Nill |  |  |  |  | 0
6 | Operation & Maintenance for ISPS |  |  | 3953845 | 423640 | 3530205
7 | Grand Total to be carry forwarded to Schedule No. ISPS2 of Grand Summary for CP 25 | 0 | 0 | 20308403 | 2120644 | 18187759
Signature of Bidder
Name & Designation
Company

## Schedule 8A ISPS
Schedule 8A ISPS: Recommended Spare Parts, Supplied from Outside Employer’s Country for ISPS's in Contract Package 25
Name of ISPS : Horamavu
|  |  |  | Japense Yen (JPY) |  | US Dollar (USD) | [5 empty] | Total Price
Item | Description | Country of Origin | Quantity | Freight on Board(FOB) | Cost, Insurance, Freight (CIF) | Freight on Board(FOB) | Cost, Insurance, Freight (CIF) | Duties, Taxes and Local Transport Payable in India in Local Currency (INR) |  |  | Foreign Currency |  | Local Component
[8 empty] | Duties | GST | Local Transport | Japanese (YEN) | US Dollar (USD) | Local Currency (INR)
|  | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | =(5)+(6) | =(7)+(8) | =(9)+(10)+(11)
8.1 | Mechanical
8.1.1 | ISPS Pumps
8.1.1.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.1.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.1.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.1.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.1.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.1.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.2 | Conveyor system
8.1.2.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.2.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.2.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.2.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.2.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3 | Mechanical coarse screens
8.1.3.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4 | Electrically operated hoist
8.1.4.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5 | Dewatering Pump
8.1.5.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.6 | Valves and Valve Actuators
8.1.6.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.6.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.6.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.6.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.6.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7 | Sluice Gates and Actuators
8.1.7.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8 | Any other details
8.1.8.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2 | Electrical Equipment & items
8.2.1 | 11 kV Switchgear
8.2.1.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2 | 11/0.433 kV Transformers
8.2.2.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3 | 415V Metal Enclosed Switchboards (PCC/PMCC/MCC/DBs)
8.2.3.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4 | Diesel Generator Set with AMF Panel
8.2.4.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5 | 415V Capacitor banks with Automatic Power Factor Correction Relay
8.2.5.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6 | 110V D.C Battery Bank, Battery Charger with D.C Distribution Board
8.2.6.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7 | Lighting System, Cabling System, Non Segregated Bus ducts & Earthing System
8.2.7.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8 | Any other details
8.2.8.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3 | Spares to be supplied for Instrumentation, Control & Automation system (PLC based SCADA system) as per Technical Specifications.
8.3.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.11 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.12 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13 | The Bidder shall list here details of any additional items required for a complete installation
8.3.13.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
| Total of Schedule 8A | [9 empty] | 0 | 0 | 0
GST | Goods and Service Tax
Signature of Bidder
Name & Designation
Company

## Schedule 8B ISPS
Schedule 8B ISPS: Recommended Spare Parts, Supplied from Within Employer’s Country for ISPS in Contract Package 25
Name of ISPS : Horamavu
|  |  |  | Japense Yen (JPY) |  | US Dollar (USD) | [5 empty] | Total Price
Item | Description | Country of Origin | Quantity | Freight on Board(FOB) | Cost, Insurance, Freight (CIF) | Freight on Board(FOB) | Cost, Insurance, Freight (CIF) | Duties, Taxes and Local Transport Payable in India in Local Currency (INR) |  |  | Foreign Currency |  | Local Component
[8 empty] | Duties | GST | Local Transport | Japenese (YEN) | US Dollar (USD) | Local Currency (INR)
|  | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | =(5)+(6) | =(7)+(8) | =(9)+(10)+(11)
8.1 | Mechanical
8.1.1 | ISPS Pumps
8.1.1.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.1.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.1.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.1.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.1.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.1.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.2 | Conveyor system
8.1.2.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.2.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.2.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.2.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.2.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3 | Mechanical coarse screens
8.1.3.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.3.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4 | Electrically operated hoist
8.1.4.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.4.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5 | Dewatering Pump
8.1.5.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.5.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.6 | Valves and Valve Actuators
8.1.6.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.6.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.6.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.6.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.6.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7 | Sluice Gates and Actuators
8.1.7.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.7.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8 | Any other details
8.1.8.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.1.8.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2 | Electrical Equipment & items
8.2.1 | 11 kV Switchgear | [9 empty] | 0 | 0 | 0
8.2.1.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.1.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2 | 11/0.433 kV Transformers
8.2.2.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.2.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3 | 415V Metal Enclosed Switchboards (PCC/PMCC/MCC/DBs)
8.2.3.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.3.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4 | Diesel Generator Set with AMF Panel
8.2.4.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.4.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5 | 415V Capacitor banks with Automatic Power Factor Correction Relay
8.2.5.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.5.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6 | 110V D.C Battery Bank, Battery Charger with D.C Distribution Board
8.2.6.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.6.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7 | Lighting System, Cabling System, Non Segregated Bus ducts & Earthing System
8.2.7.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.7.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8 | Any other details
8.2.8.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.2.8.11 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3 | Spares to be supplied for Instrumentation, Control & Automation system (PLC based SCADA system) as per Technical Specifications.
8.3.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.9 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.10 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.11 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.12 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13 | The Bidder shall list here details of any additional items required for a complete installation
8.3.13.1 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.2 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.3 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.4 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.5 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.6 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.7 | [10 empty] | 0 | 0 | 0 | bar: (4)
8.3.13.8 | [10 empty] | 0 | 0 | 0 | bar: (4)
| Total of Schedule 8B | [9 empty] | 0 | 0 | 0
GST | Goods and Service Tax
Signature of Bidder
Name & Designation
Company

## Schedule 9 ISPS
Schedule 9 ISPS: Payment Schedule
(The Bidder shall complete his estimated payment schedule along with his Price Proposal, based on payments being made on a periodic (monthly) basis according to the pre-estimated construction progress. The total amount of payments to be made shall not exceed the quoted Price. The Employer and Contractor shall make necessary adjustments to the payment schedule as the work proceeds based on the actual progress of the Works.)
Payment | Month | Estimated Percent | Estimated Amount | Cumulative % | Milestone
(Wherever Applicable)
1st Payment
2nd Payment
3rd Payment
Final Payment
Total Payments |  | 100% | (Quoted Price) | 100%
Name & Designation:
Company